## Sheet1
ELECTRICAL INSTALLATION CHECK LIST FOR ELECTRICAL TELEPHONE & FIRE ALARM SYSTEM
Project : |  | Job No.:
Sl No. | Description | Checked | Not Checked | Remarks
1 | Main Incomer Rating for MDB
2 | Main Incomer Rating for SMDB
3 | MCCB Rating
4 | MCB Rating
5 | KA Rating for Breakers
6 | TAG Earthing
7 | Main Earthing
8 | MDB to Capacitor Bank Cable Looping
9 | Grease for Earthing
10 | Cable / Wire Tightness
11 | Cable / Earth Cable Sizes
12 | Gland Earthing
13 | Identification of Circuits with Concerned DB
14 | Identification of Wiring to Meter
15 | Engraved Labels for DB / SMDB / MDB / CB / MC
16 | Engraved Labels for Outgoing Breakers
17 | Engraved Labels for Service Blocks
18 | Ferrules for DB's and Neutral & Earthing
19 | Single Line Diagram Inside Photo Frame Fixed on Wall Next to MDB / SMDB
20 | DB Schedule Stuck on DB Cover
21 | M and L Ferrules for Meter Wiring
22 | Circuits with Approved SEWA / DEWA Drawings
23 | Wire Size
24 | DEWA Notice on MDB / Capacitor Bank Cover
25 | Tag Earthing on DB Cable Termination
26 | Truss Earthing
27 | Isolator / ELCB / MCB Earthing
28 | Isolator Identified for F.Pump / W.Pump / AC / Machinery
29 | Identification for Shed / Warehouse / Building
30 | Sign Board - Incase of Fire with Telephone No
31 | Cable Tray / GI Trunking Earthing
32 | Fire Pump Earthing
33 | Switches and Socket Earthing
34 | Beware of 380V Labels
35 | Shroud for Incoming Cables
36 | Chain for DB / SMDB / MDB / CB
37 | Aluminium Letters for Meter Arrangements
38 | DEWA / SEWA Approved Drawings with DB Schedule
39 | As Built Drawings with DB Schedule
40 | Main Earth Value Below 1 ohm
41 | Meggering
42 | Testing with Temporary Power Supply on Job Completion
TELEPHONE SYSTEM
1 | Man Hole Size
2 | Main UPVC Duct Size and Quantity
3 | 42U / Main ONT Box
4 | 12U / ONT Box
5 | DB
6 | Isolator 32A
7 | AC's
8 | 13A Switch Socket Double
9 | 15A Switch Socket Single
10 | Cable Ladder / Cable Tray / PVC Trunking
11 | Earth Bar / Telephone Earthing
FIRE ALARM SYSTEM
1 | Addressable / Conventional Type
2 | Main Fire Alarm Panel Wiring
3 | Detectors Wiring
4 | Break Glass Wiring / Break Glass Key Chain
5 | Bell Wiring
6 | Hi Intensity Emergency Light Wiring
7 | Emergency / Exit Light Wiring
8 | Service Block FA System
9 | Fire Proof Cable Certificate
10 | Zone Chart / Schematic Diagram on Photo Frame
| CHECKED BY:________________________ | VERIFIED BY: | _______________________